## Sheet1
Прайс-лист ТОО "Фирма "Триада+"
2019-11-08
Наименование товаров | ОптЦена | РознЦена
Данный прайс-лист не является офертой.
Цены могут измениться без предварительного уведомления.
Цену и наличие товара уточняйте.
Цены указаны за единицу товара (например 1 диск или 1 батарейка), не за упаковку, не за банку, не за коробку и т.д.
____Battery for UPS
__Ritar Power
2V
OPzV серия
Аккумулятор 2V 250AH Ritar OPzV2-250 (206x124x390 - 20.5) [OPzV2-250] | 65000 | 68100
6V
Аккумулятор 6V 2.8AH Ritar RT628 (66x33x104 - 0.54) [RT628] | 2670 | 2810
Аккумулятор 6V 5AH Ritar RT650 (70x47x105 - 0.75) [RT650] | 3170 | 3330
Аккумулятор 6V 9.0AH Ritar RT690 (151х50х100 - 1.6) [RT690] | 4740 | 4980
Аккумулятор 6V 12AH Ritar RT6120 (151x50x101 - 1.7) [RT6120] | 5450 | 5700
12V
___RT серия (1,2 - 28AH) срок службы 3-5 лет
Аккумулятор 12V 2.3AH Ritar RT1223 (178х35х61-0.97) F1 [RT1223] | 3670 | 3850
Аккумулятор 12V 3.2AH Ritar RT1232 (134х67х66-1.3) [RT1232] | 5650 | 5950
Аккумулятор 12V 4.5AH Ritar RT1245 (90x70x107-1.4) [RT1245] | 4840 | 5100
Аккумулятор 12V 5.0AH Ritar RT1250 (90x70x107-1.6) [RT1250] | 4960 | 5250
Аккумулятор 12V 7.2AH Ritar RT1272 (151x65x95-2.15) [RT1272] | 5900 | 6200
Аккумулятор 12V 9.0AH Ritar RT1290 (151x65x95-2.55) [RT1290] | 6400 | 6700
Аккумулятор 12V 12.0AH Ritar RT12120 (151x98x95-3.6) [RT12120] | 10800 | 11300
Аккумулятор 12V 20AH Ritar RT12200 (181x77x167-5.9) [RT12200] | 16000 | 16900
Аккумулятор 12V 26AH Ritar RT12260S (166x125x175-8.8) [RT12260S] | 22400 | 23500
__RA серия (33 - 240AH) срок службы 10-12 лет
Аккумулятор 12V 33AH Ritar RA12-33 (196x130x165-10.2) [RA12-33] | 30400 | 31900
Аккумулятор 12V 40AH Ritar RA12-40 (198x166x169-13) [RA12-40] | 33400 | 35100
Аккумулятор 12V 55AH Ritar RA12-55 (229x138x210-18) [RA12-55] | 53000 | 55700
Аккумулятор 12V 60AH Ritar RA12-60 (260x169x210-20.5) [RA12-60] | 54500 | 56100
Аккумулятор 12V 65AH Ritar RA12-65 (350x167x183-21) [RA12-65] | 56800 | 58400
Аккумулятор 12V 70AH Ritar RA12-70S (260x169x210-23.5) [RA12-70S] | 58800 | 60700
Аккумулятор 12V 75AH Ritar RA12-75 (260x169x210-23.5) [RA12-75] | 65400 | 68500
Аккумулятор 12V 80AH Ritar RA12-80 (350x167x179-24) [RA12-80] | 59600 | 62700
Аккумулятор 12V 90AH Ritar RA12-90 (307x169x210-28.5) [RA12-90] | 77500 | 81400
Аккумулятор 12V 100AH Ritar RA12-100S (307x169x210-29.0) [RA12-100S] | 81700 | 86000
Аккумулятор 12V 120AH Ritar RA12-120C (407x177x225-35) [RA12-120C] | 82500 | 86800
Аккумулятор 12V 150AH Ritar RA12-150 (483х170х241-44.5) [RA12-150] | 96900 | 101600
Аккумулятор 12V 155AH Ritar RA12-155SH (340x173x285-47) [RA12-155SH] | 98100 | 103100
Аккумулятор 12V 200AH Ritar RA12-200 (522x240x219-60) [RA12-200] | 169300 | 177800
_HR серия
Аккумулятор 12V 7.0AH Ritar HR12-28W (151x65x95-2.2) [HR12-28W] | 5750 | 6050
Аккумулятор 12V 8.0AH Ritar HR12-32W (151x65x95-2.4) [HR12-32W] | 6400 | 6700
Аккумулятор 12V 9.0AH Ritar HR12-38W (151x65x95-2.55) [HR12-38W] | 7750 | 8100
Аккумулятор 12V 28AH Ritar HR12-104W (166x175x125-8.6) [HR12-104W] | 32500 | 34100
Аккумулятор 12V 145AH Ritar HR12-520WL (340x173x287-43) [HR12-520WL] | 128800 | 135400
DC (Lead Carbon)
Аккумулятор 12V 75AH Ritar DC12-75C (260x169x211/218-24) [DC12-75C] | 81400 | 85200
FT серия
Аккумулятор 12V 100AH Ritar FT12-100 (410x120x327 -31) [FT12-100] | 84100 | 88400
Аккумулятор 12V 110AH Ritar FT12-110G (410x110x286-33) [FT12-110G] | 102700 | 107800
Аккумулятор 12V 150AH Ritar FT12-150 (555x110x288-45) [FT12-150] | 106200 | 111700
_Leoch
LP серия
Аккумулятор 4V 4.5AH Leoch LP4-4.5 (53x48x100 - 0.6) [LP6-4.5] | 3330 | 3500
Аккумулятор 6V 1.2AH Leoch LP6-1.2 (97x24x58 - 0.29) [LP6-1.2] | 1560 | 1630
Аккумулятор 6V 3.2AH Leoch LP6-3.2 (134x34x66 - 0.67) [LP6-3.2] | 2170 | 2280
Аккумулятор 6V 4.5AH Leoch LP6-4.5H (70x47x106 - 0.75) [LP6-4.5] | 1900 | 2000
Аккумулятор 6V 7.8AH Leoch LP6-7.8 (151х34х100 - 1.28) [LP6-7.8] | 3560 | 3740
Аккумулятор 12V 1.2AH Leoch LP12-1.2 (97x43x58 - 0.57) [LP12-1.2] | 2670 | 2800
Аккумулятор 12V 2.3AH Leoch LP12-2.3 (178х35х66 - 0.96) [LP12-2.3] | 3360 | 3530
Аккумулятор 12V 5.4AH Leoch LP12-5.4 F1 (90x70x107-1.65) [LP12-5.4] | 5150 | 5400
Аккумулятор 12V 7.2AH Leoch LP12-7.2 (151x65x99 - 2.35) [LP12-7.2] | 6050 | 6350
Аккумулятор 12V 9.0AH Leoch LP12-9.0 (151x65x99-2.66) [LP12-9.0] | 7200 | 7550
Аккумулятор 12V 12.0AH Leoch LP12-12.0 (151x98x101 - 3.5) [LP12-12.0] | 8950 | 9350
LPG серия
Аккумулятор 12V 26.0AH Leoch LPG12-26S (166x175x125 - 7.8) [LPG12-26S] | 21500 | 22600
XP серия
Аккумулятор 12V 55AH Leoch XP12-210 (229x138x203 - 17.3) [XP12-210] | 45600 | 47900
Аккумулятор 12V 82AH Leoch XP12-300 (260x168x208 - 24) [XP12-300] | 64200 | 67300
___EastUPS
Line interactive
EA200
UPS, EAST, EA265, 650VA/390W, AVR 165-295В, 12В/7Ач, metall case, Выход: 2 Shuko+1 IEC, телефон [EA265 mc] | 12800 | 13400
UPS, EAST, EA265, 650VA/390W, AVR 165-295В, 12В/7Ач, Выход: 2 Shuko, Телефон [EA265] | 10600 | 11100
UPS, EAST, EA280Pro, 800VA, AVR 165-295В, 12В/8Ач, Выход: 2 Shuko, USB, RG45 [EA280Pro] | 14600 | 15300
UPS, EAST, EA285, 850VA/510W, AVR 165-295В, 12В/8Ач, Выход: 2 Shuko [EA285] | 12800 | 13400
UPS, EAST, EA285, 850VA/510W, AVR 165-295В, 12В/8Ач, metal case, Выход: 2 Shuko+ 1 IEC [EA285 mc] | 15100 | 15800
UPS, EAST, EA220, 2000VA, AVR 145-295В, 12В/7Ач х 2, Выход: 2 Shuko+1 IEC [EA220] | 34800 | 36500
EA200 PLUS (Shuko outputs)
UPS, EAST, EA265P, 650VA/390W, AVR 165-275В, 12В/7Ач, Выход - 6 Shuko, 3 - battery, 3 bypass [EA265P] | 17100 | 18800
UPS, EAST, EA285P, 850VA/510W, AVR 165-275В, 12В/8Ач, Выход - 6 Shuko, 3 - battery, 3 bypass [EA285P] | 20400 | 22500
EA600
UPS, EAST, EA620, 2000VA/1600W, AVR 165-275В, 12В/9Ач х 3, Выход - 2 Shuko, 1 - IEC [EA620] | 62300 | 68500
UPS, EAST, EA620R, 2000VA/1600W, AVR 165-275В, 12В/9Ач х 3, Выход - 3 Shuko, 3 - IEC [EA620R] | 79000 | 86800
UPS, EAST, EA630R, LCD 3000VA/2400W, AVR 165-275В, 12В/9Ач х 4, Выход - 3 Shuko, 3 - IEC [EA630R LCD] | 103500 | 114000
Online
EA900II
UPS, EAST, EA903IIRT, LCD 3000VA/2700W, AVR 165-275В, 12В/9Ач х 6, 2U, Выход: 2 Shuko [EA903IIRT LCD] | 166900 | 183700
UPS, EAST, EA906IIRT, LCD 6000VA/5400W, AVR 165-275В, 12В/7Ач х 16, 2U [EA906IIR LCD] | 381300 | 420200
UPS, EAST, EA9010II, LCD 10000VA/9000W, AVR 165-275В, 12В/9Ач х 16, [EA9010II LCD] | 451300 | 498000
UPS, EAST, EA9010IIRT, LCD 10000VA/9000W, AVR 165-275В, 12В/9Ач х 16, 2U [EA9010IIR LCD] | 509600 | 564100
AVR
AVR, 2000VA/1200W, LCD, EAST Выход: 2 Shuko (AVR20LCD) [AVR20LCD] | 14100 | 15500
AVR, 3000VA/1800W, LCD, EAST (AVR30LCD) [AVR30LCD] | 20700 | 22700
AVR, 5000VA/3000W, LCD, EAST (AVR50LCD) [AVR50LCD] | 24200 | 26700
Inverters
Home invertor 1000W, DC12V, LCD, EAST [] | 53300 | 53300
Home invertor 2500W, DC24V, LCD, EAST [] | 132700 | 132700
Home invertor 3500W, DC24V, LCD, EAST [] | 156000 | 156000
Home invertor 600W, DC12V, LCD, EAST Выход: 2 Shuko [] | 37500 | 37500
Internal SNMP card EAST [] | 31600 | 34800
Parallel board package for 10KVA UPS EAST [] | 11100 | 12200
___SantakUPS
Line Interactive
Line Interactive AVR UPS Knight K650 650VA/400W [K650VA] | 15800 | 16500
Online
Online UPS Castle C10KS LCD 10000VA 0 min [C10KS LCD 0] | 149300 | 156900
Online UPS Castle C1K LCD 1000VA/700W 5 min [C1K LCD] | 26600 | 28000
__Eaton
__Line-interactive UPS
Eaton 5PX
Eaton 5PX EBM 72V RT3U [5PXEBM72RT3U] | 293700 | 309300
__Online UPS
E-Series DX
UPS Eaton DX 1000H (EDX1000H) [EDX1000H] | 140100 | 147100
UPS Eaton DX 2000H 2000VA/1400W (EDX2000H) [EDX2000H] | 219800 | 231500
UPS Eaton DX 3000H (EDX3000H) [EDX3000H] | 354000 | 373500
Eaton 9120
Bypass cabinet for 5000&6000VA [1014017] | 104300 | 109400
Eaton 9120-BAT 3000 (05147369-5501) [05147369-5501] | 181700 | 190700
Eaton 9120-BAT 6000 (1026105) [1026105] | 474600 | 501900
Eaton 9125
Eaton 9125 1000-3000 Rackmount kit (05141562-0091) [0514162-0091] | 10600 | 11600
Eaton 9125 6000 Rackmount kit 5U (103003226) [103003226] | 16500 | 17300
Eaton 9125 BAT 3000 black (103002837-5501) [] | 163200 | 171800
Eaton 9125 BAT 6000 (103003387-5501) [] | 138100 | 151900
Service bypass for Powerware 9125 6000VA (1022905) [1022905] | 184000 | 193400
Eaton 9130 Rack
Eaton 9130G1000R-EBM [103006458-6591] | 167700 | 176300
Eaton 9130G3000R-EBM [103006460-6591] | 245100 | 258700
Online UPS 1000VA/900W Eaton 9130i 1000R-XL2U 7min (Rack) [103006455-6591] | 305400 | 322900
Online UPS 1500VA/1350W Eaton 9130i 1500R-XL2U (Rack) [103006456-6591] | 363800 | 383200
Online UPS 2000VA/1800W Eaton 9130i 2000R-XL2U 6min (Rack) [103006457-6591] | 533000 | 560200
Eaton 9130 Tower
Eaton 9130G3000T-EBM [103006440-6591] | 235400 | 249000
Eaton 9130i 3000T-XL 5min [103006437-6591] | 576500 | 619800
Eaton 9130N6000T-EBM [103007843-6591] | 544700 | 575800
Online UPS 1500VA/1350W Eaton 9130i 1500T-XL 5min [103006435-6591] | 321000 | 338500
Eaton 9390 Accessories
External Bypass Switch 60-80kVA (wall-mount) [1021887] | 945300 | 995900
External Bypass Switch 120 kVA (wall-mount) [1021888] | 1505500 | 1583300
Eaton 93PS
BATTERY KIT 93PS-20 [P-103002001] | 114800 | 114800
Eaton 9E
Eaton 9E 6000i (9E6KI) [(9E6KI)] | 665200 | 700300
Eaton 9PX/SX
Eaton 9SX 11000i RT6U [9SX11KiRT] | 2061800 | 2178500
Eaton 9SX 8000i RT6U [9SX8KiRT] | 1684400 | 1770000
Eaton 9SX EBM 240V [9SXEBM240] | 583600 | 618600
Eaton 9355 8-15kVA
Online UPS Eaton 9355-15-N--0-64x0Ah б/у [1023404] | 4307800 | 4307800
Eaton 9355 20-40kVA Accessories
Battery cabinet for 9355 20-40 - 9355-BAT-0 [1025168] | 1361600 | 1361600
Battery cabinet for 9355 20-40 - 9355-BAT10-2x110 (20-40 kVA) (CSB HRL 12110W) [1026073] | 4745900 | 4745900
Battery kit for 9355 20-40 (4 strings) [1025667] | 307400 | 322900
SPM-30-4 3+1 SYSTEM PARALLEL MODULE EATON (1025831) [1025831] | 2489700 | 2625800
SPM-60-2 SYSTEM PARALLEL MODULE EATON (1025476) [1025476] | 1221500 | 1283800
Online UPS Powerware 9355-40-N--0-MBS [1025804] | 4551400 | 4823700
Eaton EX (Pulsar)
Eaton EX 1000 [68181] | 249000 | 262600
Eaton EX 1000VA RT2U [68182] | 490200 | 517400
__Power distribution PDU/MBP/STS
Basic
Eaton ePDU - Basic IEC - 0U - In: 309 16A 1P - Out: 20xC13:4xC19 [EBAB04] | 120500 | 126600
Eaton ePDU - Basic IEC - 0U - In: C20 16A 1P - Out: 16xC13 [EBAB21] | 111000 | 116600
Managed
Eaton Eaton ePDU: Managed IEC, In: IEC60309 32A 1P - Out: 20xC13:4xC19 [EMAB05] | 498000 | 525200
Metered inputs
Eaton ePDU: Metered input IEC, In: 309 32A 1P - Out: 36xC13:6xC19 [EMIB08] | 252900 | 266500
Metered outputs
Eaton ePDU: Metered output IEC, In: IEC60309 32A 1P - Out: 20xC13:4xC19 [EM0B05] | 408500 | 431800
Switched
Eaton ePDU: Switched IEC, In: IEC60309 32A 1P - Out: 20xC13:4xC19 [ESWB05] | 408500 | 431800
Eaton Flex PDU
Eaton FlexPDU 8 DIN [EFLX8D] | 61500 | 64600
Eaton HotSwap MBP
Eaton HotSwap MBP DIN [68431] | 82500 | 86800
Eaton Protection Box
Protection Box 5 FR-B (66932) [66932] | 8250 | 8650
Source Transfer Switch 16A
Eaton Automatic Transfer Switch - ATS 16 [EATS16] | 280100 | 295700
Static Transfer Switch (STS 93)
Eaton 93 STS 250A, 4-pole (P-105000040-002) [P-105000040-002] | 9141600 | 9608400
__Kehua
KR-RM series
Online UPS 10000VA KR10KVA-RM KEHUA (external battery) [] | 669100 | 704100
Online UPS 2000VA KR2000-RM KEHUA (4x9AH) [] | 170800 | 179400
Online UPS 3000VA KR3000-RM KEHUA (6x9AH) [] | 204300 | 215900
KR11+ series
Online UPS 2000VA KR2000+ KEHUA (4x9AH) [] | 135400 | 142000
KR33 series
Online UPS 20KVA KR3320S KEHUA (36x9AH) [] | 1517200 | 1595000
Online UPS 30KVA KR3330S KEHUA (72x9AH) [] | 1945100 | 2061800
TripLite
Переключатель статической нагрузки TAA-Compliant 7.4kW Single-Phase ATS/Metered PDU, 230V Outlets (1 [] | 147900 | 155700
____Verbatim
Blu-Ray
BD-R M-DISK SP-010 4X 25GB InkJet Printable Verbatim (43825) [43825] | 1400 | 1470
BD-R SP-010 6X 50GB Verbatim (43746) [43746] | 1140 | 1200
BD-R SP-025 6X 50GB PRINTABLE Verbatim (43749) [43749] | 1110 | 1160
BD-R SP-050 6X 25GB WIDE PRINTABLE Verbatim (43812) [43812] | 241 | 253
BD-R XL 100GB 4X WIDE WHITE InkJet Printable HARDCOAT SURFACE JC 5 pack Verbatim (43789) [43789] | 3080 | 3230
BD-RE 2X 25GB Rewritable JC 5 pack Verbatim (43615) [43615] | 705 | 740
BD-RE 2X 50GB DUAL LAYER White Blue Surface HARD COAT Verbatim (43760) [43760] | 1580 | 1660
CD-R BOX
CD-R 700MB 52X DL EP SC Verbatim (43347) [43347] | 148 | 156
CD-RW 700MB 8-12X Colour SC 5 pack Verbatim (43167) [43167] | 261 | 272
CD-R SPINDEL
CD-R SP-010 700MB 52X EP SURFACE WRAP Verbatim (43725) [43725] | 73.9 | 77.8
CD-R SP-050 700MB 52X DL EP Verbatim (43351) [43351] | 66.1 | 70
CD-R SP-050 700MB 52X Wide Inkjet Printable Verbatim (43438) [43438] | 77.8 | 81.7
CD-RW SP-010 700MB 12X Verbatim (43480) [43480] | 195 | 206
DVD BOX
DVD-R 8X 4.7GB Archival Grade JC 5 pack Verbatim (43638-5x43637) [43638] | 595 | 625
DVD-R 16X 4.7GB Matt Silver Verbatim SC Single wrap (43547) [43547] | 156 | 163
DVD-R 16X 4.7GB Matt Silver Verbatim в конверте (43844) [43844] | 101 | 105
DVD-RW 4X 4.7GB Colour SC 5 pack Verbatim (43563) [43563] | 300 | 315
DVD+R 16X 4.7GB Colour SC 5 pack Verbatim (43556) [43556] | 179 | 187
DVD+R 2.4X 2.6GB 8cm Matt Silver Hardcoated Verbatim (43584) [43584] | 200 | 200
DVD+R 8X 8.5GB Double Layer LIGTSCRIBE JC 5 pack Verbatim (43684) [43684] | 825 | 870
DVD+R 8X 8.5GB Double Layer Matt Silver JC 5 pack Verbatim (43541) [43541] | 640 | 670
DVD+RW 4X 1.46GB 8cm Hardcoated Verbatim 3 Pack Blister (43594) [43594] | 412 | 432
DVD+RW 4X 4.7GB Colour SC 5 pack Verbatim (43297) [43297] | 300 | 315
DVD SPINDEL
DVD-R SP-010 16X 4.7GB Matt Silver Verbatim (43523) [43523] | 97.3 | 101
DVD-R SP-015 16X 4.7GB Matt Silver Wrap Verbatim (wagon wheel) (43785) [43785] | 97.3 | 101
DVD-R SP-025 16X 4.7GB Matt Silver Verbatim (43522) [43522] | 89.5 | 93.4
DVD-R SP-025 8X 4.7GB Archival Grade Verbatim (43634) [43634] | 530 | 555
DVD-R SP-050 16X 4.7GB Matt Silver Verbatim (43548) [43548] | 81.7 | 85.6
DVD-R SP-050 16X 4.7GB Verbatim Wide Photo-Printable (43533) [43533] | 97.3 | 101
DVD-R SP-050 16X 4.7GB Verbatim Wide Printable Glossy Waterprof (43734) [43734] | 288 | 303
DVD-R SP-100 16X 4.7GB Matt Silver Verbatim (43549) [43549] | 81.7 | 85.6
DVD-RW SP-010 2X 1.4GB 8cm Verbatim Photo Printable (43640) [43640] | 323 | 338
DVD-RW SP-010 4X 4.7GB Matt Silver Verbatim (43552) [43552] | 241 | 253
DVD+R SP-010 8X 8.5GB Double Layer Verbatim Matt Silver (43666) [43666] | 436 | 459
DVD+R SP-010 16X 4.7GB Lightscribe Verbatim (43576) [43576] | 167 | 175
DVD+R SP-010 16X 4.7GB Matt Silver Verbatim (43498) [43498] | 97.3 | 101
DVD+R SP-015 16X 4.7GB Matt Silver Wrap Verbatim (wagon wheel) (43786) [43786] | 97.3 | 101
DVD+R SP-025 8X 8.5GB Double Layer Printable Verbatim (43667) [43667] | 455 | 478
DVD+R SP-025 16X 4.7GB Matt Silver Verbatim (43500) [43500] | 89.5 | 93.4
DVD+R SP-025 16X 4.7GB Verbatim Wide Photo-Printable (43539) [43539] | 97.3 | 101
DVD+R SP-050 16X 4.7GB Verbatim Matt Silver (43550) [43550] | 81.7 | 85.6
DVD+R SP-050 16X 4.7GB Verbatim Wide Photo-Printable (43512) [43512] | 97.3 | 101
DVD+R SP-050 16X 4.7GB Verbatim Wide Termal Printable (43447) [43447] | 140 | 148
DVD+R SP-100 16X 4.7GB Verbatim Matt Silver (43551) [43551] | 81.7 | 85.6
DVD+RW SP-010 2X 1.4GB 8cm Verbatim Photo Printable (43641) [43641] | 319 | 335
DVD+RW SP-010 4X 4.7GB Matt Silver Verbatim (43488) [43488] | 214 | 226
Micro SD & SD cards
Micro SDHC 16GB class 10 incl. adaptor (R10MB, W10MB) Verbatim (44082) [44082] | 3290 | 3290
Micro SDHC 16GB TABLET UHS-I class 10 PRO incl. adaptor (R 45MB, W 10MB) Verbatim (44058) [44058] | 3970 | 3970
Micro SDHC 16GB UHS-3 class 10 PRO incl. adaptor (R 90MB, W45MB) Verbatim (47040) [47040] | 6250 | 6250
Micro SDHC 32GB class 10 incl. adaptor (R10MB, W10MB) Verbatim (44083) [44083] | 5600 | 5600
Micro SDHC 32GB class 10 PRO UHS-I incl. adaptor (READ 90MB/sec, WRITE 45MB/sec) Verbatim (47041) [47041] | 11900 | 11900
Micro SDXC 64GB class 10 incl. adaptor (R10MB, W10MB) Verbatim (44084) [44084] | 10200 | 10200
SDHC 16GB class 10 (R 10MB, W 10MB) Verbatim (43962) [43962] | 4080 | 4080
SDHC 16GB UHS-3 class 10 (R 90MB, W 45MB) Verbatim (47020) [47020] | 6750 | 6750
SDHC 32GB class 10 (R 10MB, W 10MB) Verbatim (43963) [43963] | 7400 | 7400
SDHC 32GB UHS-3 class 10 (R 90MB, W 45MB) Verbatim (47021) [47021] | 9050 | 9050
SDHC 32GB UHS-3 class 10 PRO+ (R 90MB, W 80MB) Verbatim (49196) [49196] | 13100 | 13100
SDXC 64GB UHS-3 class 10 (R 90MB, W 45MB) Verbatim (47022) [47022] | 13000 | 13600
SDXC 64GB UHS-3 class 10 PRO+ (R 90MB, W 80MB) Verbatim (49197) [49197] | 18200 | 18200
SSD cards
SSD USB 3.0 EXTERNAL Drive 256GB Verbatim (47623) [47623] | 56500 | 56500
SSD drives
Vi550 S3 2.5" SSD 128GB Verbatim (49350) [049350] | 8200 | 8650
Vi550 S3 2.5" SSD 256GB Verbatim (49351) [049351] | 12900 | 13600
Vi550 S3 2.5" SSD 512GB Verbatim (49352) [049352] | 22800 | 23900
USB Flash drive
USB DRIVE 2.0 8GB MINI USB DRIVE BASKETBALL EDITION (2.5/8MB) VERBATIM (98507) [98507] | 1600 | 1670
USB DRIVE 2.0 8GB MINI USB DRIVE EARTH VERBATIM (98160) [98160] | 1600 | 1670
USB DRIVE 2.0 8GB MINI USB DRIVE FOOTBALL EDITION (2.5/8MB) VERBATIM (49880) [49880] | 1600 | 1670
USB DRIVE 2.0 8GB MINI USB DRIVE WATER VERBATIM (98159) [98159] | 1600 | 1670
USB DRIVE 2.0 8GB STORE N GO SLIDER BLACK (4/10MB) VERBATIM (98695) [98695] | 1910 | 1910
USB DRIVE 2.0 8GB STORE N GO SWIVEL CARIBBEAN BLUE (2.5/8MB) VERBATIM (49812) [49812] | 2030 | 2030
USB DRIVE 2.0 16GB MINI CASSETTE EDITION BLACK VERBATIM (49397) [49397] | 2220 | 2220
USB DRIVE 2.0 16GB MINI CASSETTE EDITION RED VERBATIM (49398) [49398] | 2220 | 2220
USB DRIVE 2.0 16GB MINI CASSETTE EDITION YELLOW VERBATIM (49399) [49399] | 2220 | 2220
USB DRIVE 2.0 16GB NANO STORE N STAY + OTG ADAPTER (3/10MB) VERBATIM (49821) [49821] | 2610 | 2610
USB DRIVE 2.0 16GB PINSTRIPE CARIBBEAN BLUE (2.5/8MB) VERBATIM (49068) [49068] | 2300 | 2300
USB DRIVE 2.0 16GB PINSTRIPE EUCALYPTUS GREEN (2.5/8MB) VERBATIM (49070) [49070] | 2300 | 2300
USB DRIVE 2.0 16GB PINSTRIPE HOT PINK (2.5/8MB) VERBATIM (49067) [49067] | 2300 | 2300
USB DRIVE 2.0 16GB STORE N GO SLIDER BLACK (4/10MB) VERBATIM (98696) [98696] | 2030 | 2030
USB DRIVE 2.0 16GB STORE N GO SWIVEL RED (2.5/8MB) VERBATIM (49814) [49814] | 2140 | 2140
USB DRIVE 2.0 32GB METAL EXECUTIVE SILVER VERBATIM (98749) [98749] | 2110 | 2210
USB DRIVE 2.0 32GB NANO STORE N STAY + OTG ADAPTER (3/10MB) VERBATIM (49822) [49822] | 2110 | 2210
USB DRIVE 2.0 32GB PINSTRIPE BLACK (5/12MB) VERBATIM (49064) [49064] | 1590 | 1670
USB DRIVE 2.0 32GB PINSTRIPE CARIBBEAN BLUE (5/12MB) VERBATIM (49057) [49057] | 1690 | 1780
USB DRIVE 2.0 32GB STORE N GO SLIDER BLACK (4/10MB) VERBATIM (98697) [98697] | 1560 | 1640
USB DRIVE 2.0 32GB STORE N GO SWIVEL EUCALYPTUS GREEN (2.5/8MB) VERBATIM (49815) [49815] | 1560 | 1640
USB DRIVE 2.0 64GB PINSTRIPE BLACK (5/12MB) VERBATIM (49065) [49065] | 6750 | 7050
USB DRIVE 2.0 64GB STORE N GO SLIDER BLACK (4/10MB) VERBATIM (98698) [98698] | 6300 | 6650
USB DRIVE 2.0 64GB STORE N GO SWIVEL VIOLET VERBATIM (49816) [49816] | 7300 | 7300
USB DRIVE 3.0 8GB STORE N GO V3 (12/40MB) VERBATIM (49171) [49171] | 2460 | 2460
USB DRIVE 3.0 16GB METAL EXECUTIVE GOLD (25/80MB) VERBATIM (99104) [99104] | 3900 | 3900
USB DRIVE 3.0 16GB STORE N GO DUAL DRIVE 3.0/USB C VERBATIM (49965) [49965] | 5850 | 5850
USB DRIVE 3.0 16GB STORE N GO V3 (12/60MB) VERBATIM (49172) [49172] | 2650 | 2650
USB DRIVE 3.0 16GB STORE N GO V3 MAX VERBATIM (49805) [49805] | 6200 | 6200
USB DRIVE 3.0 32GB PINSTRIPE BLACK VERBATIM (49317) [49317] | 4820 | 4820
USB DRIVE 3.0 32GB STORE N GO V3 (25/80MB) VERBATIM (49173) [49173] | 1870 | 1970
USB DRIVE 3.0 32GB STORE N GO V3 MAX VERBATIM (49806) [49806] | 5650 | 5950
USB DRIVE 3.0 64GB METAL EXECUTIVE GOLD (25/80MB) VERBATIM (99106) [99106] | 4380 | 4600
USB DRIVE 3.0 64GB STORE N GO V3 (25/80MB) VERBATIM (49174) [49174] | 2700 | 2830
_Boxes
Box for DVD Slim Case (25 pack) Verbatim (49985) [49985] | 105 | 113
Box for DVD Standart Video GREEN 100 pack Verbatim (49977) [49977] | 132 | 140
CD-Sleeve 100 pack Verbatim (49976) [49976] | 8.5 | 9
Audio
Bluetooth HEADPHONES with built in microphone Verbatim (44403) [44403] | 19700 | 20700
Flexi Hook Earphones Verbatim (41827) [41827] | 2300 | 2420
Headphone Neck Band MultiMedia Verbatim (41821) [41821] | 4860 | 5100
Headset With Microphone Collapsible Verbatim (41683) [41683] | 2350 | 2470
Secure Clip Earphones GREEN&WHITE Verbatim (41829) [41829] | 1930 | 2030
Secure Clip Earphones PINK&WHITE Verbatim (41828) [41828] | 1760 | 1840
Secure Clip Earphones WHITE Verbatim (41830) [41830] | 2540 | 2670
Sound Isolation Earphones BLACK. GOLD&SILVER + Volume control Verbatim (41826) [41826] | 3440 | 3610
Sound Isolation Earphones GREEN&WHITE Verbatim (41824) [41824] | 3120 | 3280
Mouses
GO ERGO Desktop Mouse Verbatim (49017) [49017] | 2980 | 3130
Go Nano Wireless Mouse Caribbean Blue USB Verbatim (49044) [49044] | 3080 | 3230
Go Nano Wireless Mouse Volcanic Orange USB Verbatim (49045) [49045] | 3080 | 3230
Optical Desktop Mouse Verbatim (49019) [49019] | 1490 | 1560
Silent Optical Mouse Black Verbatim (49024) [49024] | 1850 | 1940
Marker
Multi Media Markers Twinpack Verbatim (44125) [44125] | 130 | 130
Battery Verbatim
Alkaline Battery 23AF 12V Verbatim (2 box) (49939) [49939] | 222 | 233
Alkaline Battery AA Verbatim (4 box) (49921) [49921] | 89.5 | 93.4
Alkaline Battery AAA Verbatim (4 box) (49920) [49920] | 85.6 | 89.5
Alkaline Battery C Verbatim (2 box) 343 (49922) [49922] | 323 | 342
Alkaline Battery D Verbatim (2 box) 373 (49923) [49923] | 428 | 451
Compact Charger (AA, AAA) Verbatim (49944 ) [49944] | 8250 | 8350
Lithium Battery CR2016 Verbatim (2 box) (49934) [49934] | 163 | 171
Lithium Battery CR2025 Verbatim (2 box) (49935) [49935] | 163 | 171
Lithium Battery CR2032 Verbatim (2 box) (49936) [49936] | 183 | 191
Lithium Battery CR2430 Verbatim (2 box) (49937) [49937] | 346 | 362
Lithium Battery CR2450 Verbatim (2 box) (49938) [49938] | 276 | 288
3D PRINTER FILAMENT
3D PRINTER FILAMENT ABS 1.75MM 1KG TRANSPARENT Verbatim (55015) [55015] | 10300 | 10800
3D PRINTER FILAMENT ABS 1.75MM WHITE Verbatim (55011) [55011] | 10300 | 10800
3D PRINTER FILAMENT PLA 1.75MM 1KG BLACK Verbatim (55267) [55267] | 10300 | 10800
3D PRINTER FILAMENT PLA 1.75MM 1KG NATURAL TRANSPARENT Verbatim (55274) [55274] | 10300 | 10800
3D PRINTER FILAMENT PLA 1.75MM 1KG WHITE Verbatim (55268) [55268] | 10300 | 10800
External HDD & other devices
External 2.5" HDD 750GB USB 3.0 SLIM BLACK Verbatim (53213) [53213] | 24600 | 25800
External 3.5" HDD 8.0TB USB3.0 Verbatim (47682) [47682] | 134300 | 140900
Mobile Blu-Ray Rewriter Verbatim (43890) [43890] | 46300 | 48700
USB cable Type A - MINI USB 0.5m [] | 377 | 377
Чехол для HDD 2.5" ext VERBATIM (черный, замшевый) [] | 377 | 377
NotebookBags
Notebook Notebook Messenger Bag "Berlin" 16" Black Verbatim (49856) [49856] | 23900 | 25100
Notebook Notebook Roller Bag "Copenhagen" 16" Verbatim (49851) [49851] | 47500 | 49800
Notebook Notebook Roller Bag "Frankfurt" 16" Verbatim (49850) [49850] | 46000 | 48300
Notebook Backpack "Stockholm" 16" Black Verbatim (49853) [49853] | 27300 | 28700
Notebook Notebook/Camera Backpack "Melbourne" 16" Black Verbatim (49854) [49854] | 31700 | 33300
Verbatim LED
VERBATIM LED Candle E14 4.5W 2700K WW 350LM Frosted (52602) [52602] | 1540 | 1550
VERBATIM LED Candle E14 5W 2700K WW 350LM Clear (52604) [52604] | 1540 | 1550
VERBATIM LED CLASSIC A E27 6.0W(40W) 480LM (52600) [52600] | 1190 | 1200
VERBATIM LED CLASSIC A E27 9.0W(60W) 810LM (52601) [52601] | 1630 | 1640
VERBATIM LED Downlight 104mm 11.0W 3000K 800LM White (52444) [52444] | 15800 | 16500
VERBATIM LED Downlight Fitting IP23 Twist Lock Brushed Aluminium Adjust (52401)) [52401] | 4630 | 4870
VERBATIM LED Downlight Fitting IP23 Twist Lock White Tilt Adjust (52400)) [52400] | 4630 | 4870
VERBATIM LED Globe E27 10.0W 2700K WW 810LM DIM (52611) [52611] | 2590 | 2600
VERBATIM LED Globe E27 7.0W 2700K WW 470LM DIM (52610) [52610] | 2310 | 2320
VERBATIM LED Mini Globe E14 3.5W 2700K WW 250LM Frosted (52615) [52615] | 1330 | 1340
VERBATIM LED Mini Globe E27 3.5W 2700K WW 250LM Frosted (52614) [52614] | 1330 | 1340
VERBATIM LED MR16 GU5.3 6.5W 280LM DIMMABLE WARM (52005) [52005] | 855 | 855
VERBATIM LED PAR16 GU10 8W 350LM DIMMABLE WARM WHITE (52006) [52006] | 855 | 855
VERBATIM LED Spotlight IP44 10W 3000K 810LM 40D White DIM (52408) [52408] | 14200 | 15000
Secure Digital Card (SD)
USB CARD READER for SD card Verbatim (47128) [47128] | 2260 | 2370
____Сетевое оборудование
__Planet
KVM Switches
1.8 Meter KVM, USB Cable KVM-UCB-1.8 [KVM-UCB-1.8] | 371 | 371
3 Meter keyboard, video, mouse cable for KVM Switch KVM-CB-3 [KVM-CB-3] | 3470 | 3660
5 Meter keyboard, video, mouse cable for KVM Switch KVM-CB-5 [KVM-CB-5] | 2160 | 2360
KVM Switch 16-port with OSD/Daisy-Chain KVM-1600 [KVM-1600] | 47400 | 55400
Chasis for media converters
130W Redudant Power Supply, 100-240VAC for MC-1500R/48 MC-15-RPS 130 [MC-15-RPS] | 16800 | 17700
15-Slot Media Converter Chassis MC-1500 [MC-1500] | 120600 | 126900
7-Slot 10" Media Converter Chassis PLANET MC-700 [MC-700] | 70100 | 73600
Fast Ethernet Media Conversion
10/100Base-TX to 100Base-FX (SC), Single Mode, 15 km, PLANET FT-702S15 [FT-702S15] | 21300 | 22500
10/100Base-TX to 100Base-FX (SC,MM) Bridge Media Converter, LFPT Supported, PLANET FT-802 [FT-802] | 19400 | 20500
10/100Base-TX to 100Base-FX (ST,MM) Bridge Media Converter, LFPT Supported, PLANET FT-801 [FT-801] | 19900 | 21000
10/100TX - 100Base-FX (SC) Single Mode Bridge Fiber Converter - 15KM, LFPT, PLANET FT-802S15 [FT-802S15] | 21200 | 22200
10/100TX - 100Base-FX (WDM) Bi-directional Fiber Converter - 1310nm - 20KM, LFPT, PLANET FT-806A20 [FT-806A20] | 21800 | 22900
10/100TX - 100Base-FX (WDM) Bi-directional Fiber Converter - 1550nm - 20KM, LFPT, PLANET FT-806B20 [FT-806B20] | 22500 | 23700
Web Manageable 10/100Base-TX to 100Base-FX (SC) Media Converter, PLANET FT-902 [FT-902] | 24800 | 26600
Gigabit media conversion
10/100/1000Base-T to Dual 1000Base-X SFP Media Converter (1 TP, 2 SFP) GT-1205A [GT-1205A] | 32300 | 34000
10/100/1000Base-T to WDM Bi-directional Fiber Converter - 1310nm - 15KM, PLANET GT-806A15 [GT-806A15] | 38800 | 40500
10/100/1000Base-T to WDM Bi-directional Fiber Converter - 1550nm - 15KM, PLANET GT-806B15 [GT-806B15] | 46700 | 49100
Mediaconverter 1000T <=> 1000Base-LX SC, Single Mode, 10km PLANET GT-802S [GT-802S] | 27400 | 28800
Mediaconverter 1000T <=> 1000Base-LX SC, Single Mode, PLANET GT-702S [GT-702S] | 30500 | 33500
G.SHDSL
G.SHDSL bis Bridge Router, PLANET GRT-501 [GRT-501] | 22200 | 22200
RS-232/422/485
RS-232/422/485 over Fast Ethernet Media Converter (RJ-45) – 100m PLANET ICS-100 [ICS-100] | 22300 | 23400
RS-232/422/485 over Fast Ethernet Media Converter (SC, SM) – 15km PLANET ICS-102S15 [ICS-102S15] | 15700 | 16500
VDSL conversion
100/100 Mbps Ethernet to VDSL2 Converter (1*RJ45, 1*VDSL2/RJ11-30a) PLANET VC-231 [VC-231] | 33500 | 35100
Ethernet over VDSL Converter (1*RJ45, 1*VDSL, Slave Device), PLANET VC-102S [VC-102S] | 16400 | 17700
Power over Ethernet
802.3af High Power over Ethernet Planet (POE-161) [POE-161] | 21800 | 22900
802.3af Power over Ethernet Splitter PLANET (POE-152S) [POE-152S] | 4890 | 5200
Power over Ethernet Injector (POE-100) [POE-100] | 18100 | 19100
Powerline
85Mbps Power Line to Ethernet (4-Port built-in LAN) Bridge (1*PLC+4*LAN) [PL-420] | 7550 | 7550
85Mbps Wall-Mount Power Line to Ethernet Bridge (UK Type) [PL-201-UK] | 7550 | 7550
Power Line Pass-through Ethernet Bridge 200M PLANET PL-551 [PL-551] | 7550 | 7950
Power Line to Ethernet Bridge 500M PLANET PL-701 [PL-701] | 9500 | 10000
_SFP (Mini-GBIC) Transceiver
SFP Transceiver 1000BASE-SX (duplex LC), multimode 850nm, 550 m. PLANET (MGB-SX) [MGB-SX] | 11600 | 12100
SFP Transceiver 1000BASE-LX (duplex LC), singlemode 1310nm, 10 km. DDM, PLANET (MGB-LX) [MGB-LX] | 11300 | 11900
SFP Transceiver 1000BASE-BX WDM (LC), singlemode 1310/1550nm, 10 km. PLANET (MGB-LA10) [MGB-LA10] | 9750 | 10300
SFP Transceiver 1000BASE-BX WDM (LC), singlemode 1310/1550nm, 20 km. PLANET (MGB-LA20) [MGB-LA20] | 13700 | 14400
SFP Transceiver 1000BASE-BX WDM (LC), singlemode 1550/1310nm, 10 km. PLANET (MGB-LB10) [MGB-LB10] | 12300 | 12900
SFP Transceiver 1000BASE-BX WDM (LC), singlemode 1550/1310nm, 20 km. PLANET (MGB-LB20) [MGB-LB20] | 18400 | 19300
Managed Layer 2 Ethernet Switches
Switch 24x10/100Base-TX+2*10/100/1000Base-T/Mini-GBIC (SFP) SNMP-Lite Managed Switch (FGSW-2620VM) [FGSW-2620VM] | 32500 | 34100
Switch Accessories
1x1000 LX Fiber Optic Switch Module, PLANET MII-LX [MII-LX] | 46800 | 47800
1x1000 SX Fiber Optic Switch Module, PLANET MII-SX [MII-SX] | 28800 | 30400
1x1000TX/SFP (miniGBIC) Module, PLANET MII-SFP [MII-SFP] | 15200 | 15700
Switches with Power over Ethernet
10" 8-Port 10/100Ethernet Switch with 4-Port 802.3af PoE Injector (FSD-804P) [FSD-804P] | 15500 | 16300
10" 8-Port 10/100Ethernet Switch with 4-Port Web/Smart PoE Injector (FSD-804PS) [FSD-804PS] | 17600 | 18400
24-Port 10/100Base-TX PoE+ 2*1000Base-T/SFP Switch (FGSW-2620PVM) [FGSW-2620PVM] | 85300 | 90200
Web-Smart Ethernet Switches
Switch 8x10/100/1000Base-T with 2-Port SFP Web-Smart Gigabit Ethernet Switch (GSD-802S) [GSD-802S] | 39300 | 41300
Switch 24x1000Mb, Web Smart 19", PLANET GSW-2416SF [GSW-2416SF] | 69200 | 76200
VoIP
4-Port SIP Internet Telephony Gateway VoIP (VIP-450) [VIP-450] | 20100 | 20100
4-Port VoIP FXO Module for VIP-000 / VIP-050 [VIP-FXO] | 15100 | 15100
4-Port VoIP FXS Module for VIP-000 / VIP-050 [VIP-FXS] | 15100 | 15100
DECT Handset DCT-100 [DCT-100] | 4010 | 4010
DECT VoIP Router 802.11g VIP-462DG [VIP-462DG] | 17100 | 17100
DECT/VoIP Router (H.323/SIP) VIP-320 [VIP-320] | 19100 | 19100
IP-PBX, 8 CO, 18 Ext, 16 VoIP, PLANET IPX-1500 [IPX-1500] | 283300 | 306400
Lighting Arrester for VoIP Gateway VIP-LTN [VIP-LTN] | 1910 | 1910
Personal VoIP Gateway SKG-300 [SKG-300] | 7750 | 8450
SIP Analogue Telephony Adapter (ATA) - 2*RJ45 VIP-156 [VIP-156] | 19200 | 20100
SIP IP Phone VIP-153T [VIP-153T] | 11100 | 11100
VIP-400FS (4-FXS) 4-Port Internet Telephony Gateway VoIP FXS [VIP-400FS (4-FXS)] | 20100 | 20100
VoIP PLANET VIP- 56EXT [VIP- 56EXT] | 13100 | 13100
VoIP Analog Telephone Adapter Wi-Fi (1*FXS+1*PSTN) VIP-161W [VIP-161W] | 14500 | 15300
VoIP Firewall Router 2-Port H.323/SIP (2*FXS) VIP-280 [VIP-280] | 14100 | 14100
VoIP Gateway Basic Unit H.323 VIP-000 [VIP-000] | 23100 | 23100
VoIP Gateway Basic Unit SIP VIP-050 [VIP-050] | 23100 | 23100
VoIP Phone PLANET VIP- 560PE [VIP- 560PE] | 17100 | 17100
Wi-Fi Phone 802.11b VIP-190 [VIP-190] | 15100 | 15100
Wi-Fi Phone Functional 802.11b/g PLANET VIP-193 [VIP-193] | 34400 | 36200
Wireless
Antenna Omni-Directional 5dBi Desktop ANT-0M5 [ANT-0M5] | 2310 | 2480
Antenna Omni-Directional 8dBi ANT-0M8 [ANT-0M8] | 6550 | 6550
Wireless LAN Adapter MIMO PCI (WML-8315) [WML-8315] | 2010 | 2010
WLAN (11g) Digital Media Adapter (RJ45, S-Video, Coaxial Audio, RCA Audio/Video, IR) DMA-100W [DMA-100W] | 37400 | 40400
WLAN USB Adapter - 54/108Mbps IEEE 802.11a/b/g Dual Band WL-U357 [WL-U357] | 2480 | 2480
Товарищество с ограниченной ответственностью “Фирма Триада+”
Адрес: Республика Казахстан, 050009, г. Алматы,
ул. Богенбай батыра 279 (угол ул. Айманова),
помещение 169 (цокольный этаж, вход с ул. Богенбай батыра)
Телефон: +7(727) 224-01-50, 224-01-51
Мобильный: +7 701 221 01 83
E-mail: dima.taykov@triade.kz, info@triade.kz
Режим работы: пон. - пятн. с 9:00 до 18:00