## Sheet1
Прайс-лист ТОО "Фирма "Триада+"
2026-01-06
Наименование товаров | ОптЦена | РознЦена
Данный прайс-лист не является офертой.
Цены могут измениться без предварительного уведомления.
Цену и наличие товара уточняйте.
Цены указаны за единицу товара (например 1 диск или 1 батарейка), не за упаковку, не за банку, не за коробку и т.д.
____Battery for UPS
_Ritar Power
2V
Аккумулятор 2V 250AH Ritar OPzV2-250 (206x124x390 - 20.5) [OPzV2-250] | 78000 | 78000
6V
Аккумулятор 6V 1.3AH Ritar RT613 (97x24x58 -0.3) [RT613] | 4070 | 4270
Аккумулятор 6V 2.8AH Ritar RT628 (66x33x104-0.53) [RT628] | 2370 | 2440
Аккумулятор 6V 3.2AH Ritar RT632 (134x35x67 - 0.60) [RT632] | 4640 | 4870
Аккумулятор 6V 5.0AH Ritar RT650 (70x47x107-0.7) [RT650] | 2270 | 2350
Аккумулятор 6V 7.0AH Ritar RT670 (151х34х100-1.00) [RT670] | 3250 | 3350
Аккумулятор 6V 12AH Ritar RT6120 (151x50x101-1.7) [RT6120] | 5200 | 5350
12V
RA серия (33 - 240AH) срок службы 10-12 лет
Аккумулятор 12V 40AH Ritar RA12-40 (198x166x169-11.5 [RA12-40] | 37700 | 38800
Аккумулятор 12V 45AH Ritar RA12-45 (198x166x169-13.5) [RA12-45] | 42300 | 43700
Аккумулятор 12V 60AH Ritar RA12-60 (260x169x210-20.5) [RA12-60] | 44600 | 45900
Аккумулятор 12V 65AH Ritar RA12-65 (350x167x183-21) [RA12-65] | 64200 | 66100
Аккумулятор 12V 70AH Ritar RA12-70S (260x169x210-23.5) [RA12-70S] | 69900 | 72100
Аккумулятор 12V 75AH Ritar RA12-75 (260x169x210-23.5) [RA12-75] | 58500 | 60200
Аккумулятор 12V 80AH Ritar RA12-80SA (260x169x216-22) [RA12-80SA] | 73400 | 75700
Аккумулятор 12V 100AH Ritar RA12-100S (307x169x210-26.5) [RA12-100S] | 87200 | 89900
Аккумулятор 12V 120AH Ritar RA12-120S (328x177x222-32) [RA12-120S] | 104900 | 108100
Аккумулятор 12V 150AH Ritar RA12-150 (483x170x241-44.5) [RA12-150] | 133200 | 137200
RT серия (1,2 - 28AH) срок службы 5-8 лет
Аккумулятор 12V 1.3AH Ritar RT1213 (97x43x52-0.52) F1 [RT1213] | 3800 | 3910
Аккумулятор 12V 2.3AH Ritar RT1223 (178х35х61-0.97) F1 [RT1223] | 6400 | 6750
Аккумулятор 12V 3.2AH Ritar RT1232 (135x60x67-1.25) [RT1232] | 7200 | 7550
Аккумулятор 12V 5.0AH Ritar RT1250 (90x70x107-1.35) [RT1250] | 4310 | 4450
Аккумулятор 12V 5.0AH Ritar RT1250В (151x50x95-1.4 ) [RT1250В_] | 5050 | 5200
Аккумулятор 12V 7.0AH Ritar RT1270 (151x65x95-2.0) [RT1270] | 6150 | 6350
Аккумулятор 12V 7.0AH Ritar RT1270 (A151x65x95-1.9) [RT1270A] | 6100 | 6300
Аккумулятор 12V 7.2AH Ritar RT1272 (151x65x95-2.08) [RT1272] | 5850 | 6050
Аккумулятор 12V 8.0AH Ritar RT1280 (151x65x95-2.08) [RT1280] | 6050 | 6250
Аккумулятор 12V 9.0AH Ritar RT1290 (151x65x95-2.55) [RT1290] | 8850 | 9550
Аккумулятор 12V 12.0AH Ritar RT12120 (151x98x95-3.5) [RT12120] | 11500 | 12000
Аккумулятор 12V 20AH Ritar RT12200 (181x77x167-5.4) [RT12200] | 21600 | 22700
Аккумулятор 12V 26AH Ritar RT12260 (166x175x125-7.4) [RT12260] | 28700 | 30200
Аккумулятор 12V 26AH Ritar RT12260S (166x125x175-8.3) [RT12260S] | 31000 | 32600
____UPS, Power Conditioners and Surge Supressor
Line interactive
EA200
UPS, EAST, EA265, 650VA/390W, AVR 165-295В, 12В/7Ач, metall case, Выход: 2 Shuko+1 IEC [EA265M] | 17500 | 18300
UPS, EAST, EA285, 850VA/510W, AVR 165-295В, 12В/8Ач, Выход: 2 Shuko [EA285] | 17500 | 18300
UPS, EAST, EA285, 850VA/510W, AVR 165-295В, 12В/8Ач, metal case, Выход: 2 Shuko+1 IEC [EA285 mc] | 20600 | 21600
EA200 PLUS (Shuko outputs)
UPS, EAST, EA265P, 650VA/390W, AVR 165-275В, 12В/7Ач, Выход - 6 Shuko, 3 - battery, 3 bypass [EA265P] | 23400 | 25700
EA200 PRO
UPS, EAST, EA280Pro, 800VA/480W, AVR 165-295В, 12В/8Ач, Выход: 4 IEC [EA280PRO] | 19900 | 20900
EA600
UPS, EAST, EA620R, 2000VA/1600W, AVR 165-275В, 12В/9Ач х 3, Выход - 3 Shuko, 3 - IEC [EA620R] | 107700 | 118300
Online
EA900II
UPS, EAST, EA903IIRT, нет лицевой панели LCD 3000VA/2700W, 12В/9Ач х 6, 2U, 2 Shuko [EA903IIRT LCD] | 227600 | 250400
AVR
AVR, 1000VA/600W, LED, EAST Выход: 2 Shuko plastic case (AVR10LED) [AVR10LED] | 8450 | 8900
AVR, 2000VA/1200W, LCD, EAST Выход: 2 Shuko (AVR20LCD) [AVR20LCD] | 19300 | 21100
AVR, 3000VA/1800W, LCD, EAST (AVR30LCD) [AVR30LCD] | 28200 | 31000
Inverters
Home invertor 1600W, DC24V, LCD, EAST [] | 105600 | 116200
Home invertor 2500W, DC24V, LCD, EAST [] | 181000 | 181000
___SantakUPS
Line Interactive
Line Interactive AVR UPS Knight K650 650VA/400W [K650VA] | 21500 | 22500
Online
Online UPS Castle C10KS LCD 10000VA 0 min (external battery) [C10KS LCD 0] | 154600 | 162500
__Eaton
___Eaton battery cabinets
Литий-ионные батарйные шкафы
EBC-LI-128S1P Batteries [P-103004003] | 21177700 | 22239700
EBC-LI-128S1P EMPTY [P-105000119-002] | 4841500 | 5091400
Свинцово-кислотные батарйные шкафы
Battery breaker 700A/600Vdc for local rack battery systems (275 kVA) [1027291] | 1050600 | 1050600
Battery cabinet for 9355 20-40 - 9355-BAT-0 [1025168] | 1856600 | 1856600
Eaton LEBC with breaker 93P/E-BAT-L-EMPTY (400A) M6 [P-105000035-001] | 2678700 | 2837900
P-105000035-001 Шкаф для аккумуляторных батарей Large External Battery cabinet with breaker 93P/E-BA []
Полки для батарей KIT 93PS-20 BATTERY ACCESSORIES (P-103002001) [P-103002001] | 178700 | 187500
Eaton 5E
Eaton 5E 650V/360W выходы: 4-IEC, 2-телеф, 1-USB ( 5E650iUSB) [5E650iUSB] | 36700 | 38500
Eaton 5PX
Eaton 5PX 1500i RT2U без мат платы [5PX1500IRT] | 427000 | 432400
Eaton 5PX 3000i RT3U без матплаты (8 IEC C13+1 IEC C19, 1 USB+1 RS232) [5PX3000iRT] | 785100 | 827500
Кабель-адаптер для ИБП EATON cable adapter 5PX Gen1/Gen2 48V (744-A4821) [744-A4821] | 81900 | 86300
Eaton 5PX G2
Cable-adaptor EBM 5PX Gen1/EX and 5PX2/9PX (CBLADAPT72RT) [CBLADAPT72RT] | 106900 | 112500
Eaton 5S
ИБП Eaton 5S 700Va/420W выходы: 3-IEC через батарею , 3-IEC напрямую, 2-modem/network [5S700i] | 81900 | 86300
Eaton 5SC
Источник бесперебойного питания Eaton 5SC 3000i RT2U [5SC3000IRT] | 596600 | 631000
Eaton 9120
Bypass for 5000&6000VA [1014017] | 142200 | 149100
Eaton 9120-BAT 3000 (05147369-5501) [05147369-5501] | 247800 | 260000
Eaton 9120-BAT 6000 (1026105) [1026105] | 647200 | 684300
Eaton 9125
Eaton 9125 BAT 3000 black (103002837-5501) [] | 222600 | 234300
Online UPS 1000VA/700W Eaton 9125RM 1000i 5 min [05146011-5501] | 315600 | 341000
Eaton 9130 Rack
Eaton 9130G1000R-EBM [103006458-6591] | 228700 | 240300
Online UPS 1500VA/1350W Eaton 9130i 1500R-XL2U (Rack) [103006456-6591] | 445600 | 469500
Online UPS 2000VA/1800W Eaton 9130i 2000R-XL2U 6min (Rack) [103006457-6591] | 726700 | 763900
Eaton 9130 Tower
Eaton 9130G3000T-EBM [103006440-6591] | 321000 | 339500
Eaton 9130i 2000T-XL 10min [103006436-6591] | 615400 | 647200
Eaton 9130i 3000T-XL 5min [103006437-6591] | 811600 | 854000
Eaton 9130N6000T-EBM [103007843-6591] | 742700 | 785100
Online UPS 1500VA/1350W Eaton 9130i 1500T-XL 5min [103006435-6591] | 437700 | 461500
Eaton 9140
Eaton 9140 10KVA HARDWIRE [103004728-6591] | 2631000 | 2784800
Eaton 9140 3U EBM [103004729-6591] | 313200 | 329000
Eaton 9PX
Eaton 9PX 2200i RT2U [9PX2200IRT2U] | 949600 | 999600
HMI MODULE 9PX/SX 5-11K [744-A1923] | 82300 | 86500
Eaton 9SX
Источник бесперебойного питания Eaton 9SX 1500i 1500ВА/1350Вт [9SX1500I] | 707300 | 742800
Eaton 9SX G2
Батарейный модуль Eaton 9SX EBM 180V RT3U G2 (9SXEBM180RT3UG2) [9PXEBM180RT3UG2] | 1237000 | 1299400
Батарейный модуль Eaton 9SX EBM 240V [9SXEBM240] |  | 862100
Кабель-адаптер для ИБП EATON cable adapter 9PX/9SX G1/G2 180V (744-A5503) [744-A5503] | 81900 | 86300
Комплект крепления для ИБП Eaton Rack kit 9PX/9SX [9RK] | 119400 | 125600
Eaton EX (Pulsar)
Eaton EX 1000VA RT2U [68182] | 668400 | 705500
E-Series DX
UPS Eaton DX 1000H (EDX1000H) [EDX1000H] | 191000 | 200600
UPS Eaton DX 2000H 2000VA/1400W (EDX2000H) [EDX2000H] | 299700 | 315700
UPS Eaton DX 3000H (EDX3000H) [EDX3000H] | 482700 | 509300
Eaton 9390
External Bypass Switch 60-80kVA (wall-mount) [1021887] | 1289000 | 1358000
External Bypass Switch 120 kVA (wall-mount) [1021888] | 2052800 | 2158900
Eaton 93PM G2
Силовой модуль 93PM-G2-UPM [P-103004444/733-82068] | 4591700 | 4841500
Eaton 93PS
93PS-20(20)-20-CM-6 [BA02A9206A010] | 3842000 | 4060700
Eaton 93T
Источник бесперебойного питания Eaton 93T 60kVA IB [93T60KMBSB] | 7059300 | 7808900
Источник бесперебойного питания Eaton 93T 60kVA IB 4x40x9Ah [93T60KMBSBI] | 7059300 | 7808900
Eaton 9x55
UPS Center (input, bypass and distribution) - 9355 12/15 kVA-21xB10 [1025006] | 1379600 | 1379600
Eaton 9155 8-10kVA 1:1
Online UPS 10000VA/9000W Eaton 9155-10-S--0-64x0Ah [1022529] | 3243600 | 3243600
Eaton 9355 8-15kVA
Online UPS Eaton 9355--15-N--0-64x0Ah Б\У (1023404) [1023404] | 3788900 | 4133300
Eaton 9355 20-40kVA
SPM-30-4 3+1 SYSTEM PARALLEL MODULE EATON (1025831) [1025831] | 3394800 | 3580500
Online UPS Eaton 9355-40-N--0-MBS [1025804] | 4216800 | 4435500
__Power distribution PDU/MBP/STS
Eaton ePDU
Basic
Eaton ePDU - Basic IEC - 0U - In: 309 16A 1P - Out: 20xC13:4xC19 [EBAB04] | 197900 | 208000
Eaton ePDU - Basic IEC - 0U - In: C20 16A 1P - Out: 16xC13: [EBAB21] | 197900 | 208000
Metered inputs
Eaton ePDU: Metered input IEC, In: 309 32A 1P - Out: 36xC13:6xC19 [EMIB08] | 344800 | 363400
Metered outputs
Eaton ePDU: Metered output IEC, In: IEC60309 32A 1P - Out: 20xC13:4xC19 [EM0B05] | 557000 | 588800
Switched
Eaton ePDU: Switched IEC, In: IEC60309 32A 1P - Out: 20xC13:4xC19 [ESWB05] | 557000 | 588800
Eaton Flex PDU
Eaton Flex PDU 12IEC [EFLX12I] | 83900 | 88100
Eaton FlexPDU 8 DIN [EFLX8D] | 83900 | 88100
Static Transfer Switch (STS 93)
Eaton 93 STS 250A, 4-pole (P-105000040-002) [P-105000040-002] | 12465200 | 13101700
____Verbatim
Blu-Ray
BD-R 2X 7,5GB/60min 8cm Verbatim Hard Coat (43660) [43660] | 259 | 259
BD-R 4X 100GB XL WIDE WHITE InkJet Printable HARDCOAT SURFACE JC 5 pack Verbatim (43789) [43789] | 4440 | 4670
BD-R SP-010 6X 25GB HP (69321) [69321] | 334 | 350
BD-R SP-025 6X 50GB PRINTABLE Verbatim (43749) [43749] | 1770 | 1860
BD-R SP-050 6X 25GB WIDE PRINTABLE Verbatim (43812) [43812] | 399 | 414
BD-RE 2X 25GB Rewritable JC 5 pack Verbatim (43615) [43615] | 955 | 1010
CD-R BOX
CD-R 700MB 52X DL EP SC Verbatim (43347) [43347] | 282 | 300
CD-R SPINDEL
CD-R SP-050 700MB 52X cake box HP Verbatim (69307) [69307] | 100 | 106
CD-R SP-050 700MB 52X DL EP Verbatim (43351) [43351] | 134 | 140
CD-R SP-050 700MB 52X Printable cake box HP Verbatim (69312) [69312] | 106 | 111
CD-R SP-050 700MB 52X Wide Inkjet Printable Verbatim (43438) [43438] | 178 | 186
CD-R WR-050 700MB 52X Wrap MyMEDIA Verbatim (69201) [69201] | 88.1 | 93.2
CD-R WR-050 700MB 52X Wrap Wide Printable MyMEDIA (69206) [69206] | 90.1 | 95.3
CD-RW SP-010 700MB 12X Verbatim (43480) [43480] | 408 | 430
DVD BOX
DVD-R 16X 4.7GB Matt Silver Verbatim SC Single slim case (43547) [43547] | 306 | 321
DVD+R 2.4X 2.6GB 8cm Matt Silver Hardcoated Verbatim (43584) [43584] | 207 | 207
DVD+R 8X 8.5GB Double Layer LIGTSCRIBE JC 5 pack Verbatim (43684) [43684] | 1180 | 1240
DVD+R 8X 8.5GB Double Layer Matt Silver JC 5 pack Verbatim (43541) [43541] | 910 | 955
DVD SPINDEL
DVD-R SP-050 16X 4.7GB cake box HP (69316) [69316] | 109 | 114
DVD-R SP-050 16X 4.7GB Matt Silver Verbatim (43548) [43548] | 155 | 162
DVD-R SP-050 16X 4.7GB Printable cake box HP Verbatim (69317) [69317] | 113 | 124
DVD-R SP-050 16X 4.7GB Verbatim Wide Photo-Printable (43533) [43533] | 188 | 198
DVD-R SP-050 16X 4.7GB Verbatim Wide Printable Glossy Waterprof (43734) [43734] | 150 | 155
DVD-R WR-050 16X 4.7GB Wrap MyMEDIA Verbatim (69200) [69200] | 97.4 | 103
DVD-R WR-050 16X 4.7GB Wrap Wide Printable MyMEDIA Verbatim (69202) [69202] | 99.5 | 106
DVD-RW SP-010 2X 1.4GB 8cm Verbatim Photo Printable (43640) [43640] | 462 | 486
DVD-RW SP-010 4X 4.7GB Matt Silver Verbatim (43552) [43552] | 466 | 497
DVD+R SP-010 8X 8.5GB Double Layer Printable HP Verbatim (69306) [69306] | 281 | 295
DVD+R SP-010 16X 4.7GB Lightscribe Verbatim (43576) [43576] | 237 | 249
DVD+R SP-050 16X 4.7GB cake box HP Verbatim (69319) [69319] | 108 | 113
DVD+R SP-050 16X 4.7GB Printable cake box HP Verbatim (69320) [69320] | 113 | 124
DVD+R SP-050 16X 4.7GB Verbatim Matt Silver (43550) [43550] | 155 | 162
DVD+R SP-050 16X 4.7GB Verbatim Wide Photo-Printable (43512) [43512] | 192 | 202
DVD+RW SP-010 2X 1.4GB 8cm Verbatim Photo Printable (43641) [43641] | 455 | 478
DVD+RW SP-010 4X 4.7GB Matt Silver Verbatim (43488) [43488] | 466 | 497
M-Disc
M-DISC BD-R 25GB 4X INKJET PRINTABLE (5 PACK) (43823) [43823] | 2270 | 2390
Micro SD & SD cards
Micro SDHC 16GB class 10 incl. adaptor Verbatim (44082) [44082] | 9850 | 10400
Micro SDHC 16GB class 10 PRO UHS-I incl. adaptor Verbatim (47040) [47040] | 5700 | 5700
Micro SDHC 16GB TABLET class 10 PRO UHS-I incl. adaptor Verbatim (44058) [44058] | 5700 | 5700
Micro SDHC 32GB class 10 incl. adaptor Verbatim (44083) [44083] | 9850 | 10400
Micro SDHC 32GB class 10 PRO UHS-I incl. adaptor Verbatim (47041) [47041] | 9200 | 9650
SDHC 16GB class 10 (UHS-3) (READ 90MB/sec, WRITE 45MB/sec) Verbatim (47020) [47020] | 6100 | 6100
SDHC 32GB class 10 Verbatim (43963) [43963] | 9950 | 10500
SDHC 32GB class 10 (UHS-3) (READ 90MB/sec, WRITE 45MB/sec) Verbatim (47021) [47021] | 9950 | 10500
SDHC 32GB class 10 PRO+ UHS-I (READ 90MB/sec, WRITE 80MB/sec) Verbatim (49196) [49196] | 9950 | 10500
SDXC 64GB class 10 (UHS-3) Verbatim (47022) [47022] | 17700 | 18500
SSD cards
SSD USB 3.0 EXTERNAL Drive 256GB Verbatim (47623) [47623] | 15600 | 15600
USB Flash drive
USB DRIVE 2.0 16GB MINI CASSETTE EDITION BLACK VERBATIM (49397) [49397] | 4150 | 4360
USB DRIVE 2.0 16GB MINI CASSETTE EDITION RED VERBATIM (49398) [49398] | 4150 | 4360
USB DRIVE 2.0 16GB MINI CASSETTE EDITION YELLOW VERBATIM (49399) [49399] | 4150 | 4360
USB DRIVE 2.0 16GB NANO STORE N STAY + OTG ADAPTER (3/10MB) VERBATIM (49821) [49821] | 4360 | 4580
USB DRIVE 2.0 16GB STORE N GO SWIVEL RED VERBATIM (49814) [49814] | 2200 | 2310
USB DRIVE 2.0 32GB METAL EXECUTIVE SILVER VERBATIM (98749) [98749] | 4670 | 5200
USB DRIVE 2.0 32GB NANO STORE N STAY + OTG ADAPTER (3/10MB) VERBATIM (49822) [49822] | 4360 | 4580
USB DRIVE 2.0 32GB PINSTRIPE BLACK (5/12MB) VERBATIM (49064) [49064] | 4830 | 4830
USB DRIVE 2.0 32GB PINSTRIPE CARIBBEAN BLUE (5/12MB) VERBATIM (49057) [49057] | 4830 | 4830
USB DRIVE 2.0 32GB STORE N GO SLIDER BLACK (4/10MB) VERBATIM (98697) [98697] | 4830 | 4830
USB DRIVE 2.0 32GB STORE N GO SWIVEL EUCALYPTUS GREEN (2.5/8MB) VERBATIM (49815) [49815] | 4150 | 4670
USB DRIVE 2.0 64GB PINSTRIPE BLACK (5/12MB) VERBATIM (49065) [49065] | 9150 | 9650
USB DRIVE 2.0 64GB STORE N GO SLIDER BLACK (4/10MB) VERBATIM (98698) [98698] | 8600 | 9050
USB DRIVE 2.0 64GB STORE N GO SWIVEL VIOLET VERBATIM (49816) [49816] | 9150 | 9650
USB DRIVE 3.0 8GB STORE N GO V3 (12/40MB) VERBATIM (49171) [49171] | 2410 | 2530
USB DRIVE 3.0 16GB STORE N GO V3 MAX VERBATIM (49805) [49805] | 5700 | 5700
USB DRIVE 3.0 32GB PINSTRIPE BLACK VERBATIM (49317) [49317] | 5700 | 5700
USB DRIVE 3.0 32GB STORE N GO V3 (25/80MB) VERBATIM (49173) [49173] | 6050 | 6350
USB DRIVE 3.0 32GB STORE N GO V3 MAX VERBATIM (49806) [49806] | 5700 | 5700
USB DRIVE 3.0 64GB METAL EXECUTIVE GOLD (25/80MB) VERBATIM (99106) [99106] | 14600 | 14600
USB DRIVE 3.0 64GB STORE N GO V3 (25/80MB) VERBATIM (49174) [49174] | 11100 | 11700
Accessories
_Boxes
Box for DVD&CD COLOR slim Verbatim 50pk (49973) [49973] | 145 | 155
Box for DVD&CD slim Verbatim 25pk (49979) [49979] | 161 | 169
Конверт CD-Sleeve 100 pack Verbatim (49976) [49976] | 18.65 | 20.72
Audio
Flexi Hook Earphones Verbatim (41827) [41827] | 3140 | 3300
Headphone Neck Band MultiMedia Verbatim (41821) [41821] | 6650 | 6950
Headset With Microphone Collapsible Verbatim (41683) [41683] | 3200 | 3360
Secure Clip Earphones GREEN&WHITE Verbatim (41829) [41829] | 2640 | 2770
Secure Clip Earphones PINK&WHITE Verbatim (41828) [41828] | 2390 | 2510
Secure Clip Earphones WHITE Verbatim (41830) [41830] | 3460 | 3630
Sound Isolation Earphones GREEN&WHITE Verbatim (41824) [41824] | 4250 | 4470
Marker
Multi Media Markers Twinpack Verbatim (44125) [44125] | 135 | 135
Battery Verbatim
Alkaline Battery AA Verbatim (4 box) (49921) [49921] | 145 | 155
Alkaline Battery AAA Verbatim (4 box) (49920) [49920] | 145 | 155
Compact Charger (AA, AAA) Verbatim (49944 ) [49944] | 11200 | 11400
Lithium Battery CR2430 Verbatim (2 box) (49937) [49937] | 377 | 392
Lithium Battery CR2450 Verbatim (2 box) (49938) [49938] | 377 | 392
External HDD & other devices
External 2.5" HDD 750GB USB 3.0 SLIM BLACK Verbatim (53213) [53213] | 33500 | 35200
NotebookBags
Notebook Notebook Messenger Bag "Berlin" 16" Black Verbatim (49856) [49856] | 32600 | 34200
Notebook Notebook Roller Bag "Copenhagen" 16" Verbatim (49851) [49851] | 64800 | 67900
Notebook Notebook Roller Bag "Frankfurt" 16" Verbatim (49850) [49850] | 62600 | 65800
Secure Digital Card (SD)
USB CARD READER for SD card Verbatim (47128) [47128] | 3080 | 3240
____Сетевое оборудование
__Planet
KVM Switches
1.8 Meter KVM, USB Cable KVM-UCB-1.8 [KVM-UCB-1.8] | 384 | 384
3 Meter keyboard, video, mouse cable for KVM Switch KVM-CB-3 [KVM-CB-3] | 3590 | 3790
5 Meter keyboard, video, mouse cable for KVM Switch KVM-CB-5 [KVM-CB-5] | 2230 | 2440
KVM IP Switch 1-Port, PLANET IKVM-1000 [IKVM-1000] | 344900 | 373100
KVM Switch 16-port with OSD/Daisy-Chain KVM-1600 [KVM-1600] | 49100 | 57300
KVM Switch 2-Port, Combo PS2/USB PLANET KVM-210 [KVM-210] | 7600 | 7800
KVM Switch 4-Port, Combo PS2/USB PLANET KVM-410 [KVM-410] | 49000 | 51400
KVM USB Switch 2-Port with cables, PLANET KVM-U202 [KVM-U202] | 13700 | 14900
KVM-E 500 KVM CAT5 Extender, PLANET KVM-E 500 [KVM-E 500] | 81300 | 87500
_SFP (Mini-GBIC) Transceiver
SFP Transceiver 1000BASE-SX (duplex LC), multimode 850nm, 550 m. PLANET (MGB-SX) [MGB-SX] | 15800 | 16500
SFP Transceiver 1000BASE-LX (duplex LC), singlemode 1310nm, 10 km. PLANET (MGB-LX) [MGB-LX] | 15100 | 15100
SFP Transceiver 1000BASE-BX WDM (LC), singlemode 1310/1550nm, 10 km. PLANET (MGB-LA10) [MGB-LA10] | 16700 | 17600
SFP Transceiver 1000BASE-BX WDM (LC), singlemode 1310/1550nm, 20 km. PLANET (MGB-LA20) [MGB-LA20] | 18700 | 19600
SFP Transceiver 1000BASE-BX WDM (LC), singlemode 1550/1310nm, 10 km. PLANET (MGB-LB10) [MGB-LB10] | 22400 | 23500
SFP Transceiver 1000BASE-BX WDM (LC), singlemode 1550/1310nm, 20 km. PLANET (MGB-LB20) [MGB-LB20] | 25100 | 26300
Home/SOHO Switches
SOHO Switch 8x10/100T/1000X, Metal, PLANET (GSD-805F) [GSD-805F] | 25100 | 26400
SOHO Switch 16x10/100TX, Metal, PLANET (FSD-1603) [FSD-1603] | 24100 | 26500
Managed Layer 2 Ethernet Switches
Switch 24-Port SNMP 10/100Base-TX + one-slot 1-Port 100Base-FX FO PLANET (WSW-2401A) [WSW-2401A] | 107100 | 117800
Switch Accessories
1x1000 LX Fiber Optic Switch Module, PLANET MII-LX [MII-LX] | 63800 | 65100
1x1000 SX Fiber Optic Switch Module, PLANET MII-SX [MII-SX] | 39300 | 41400
1x1000TX/SFP (miniGBIC) Module, PLANET MII-SFP [MII-SFP] | 20700 | 21400
Switches with Power over Ethernet
10" 8-Port 10/100Ethernet Switch with 4-Port 802.3af PoE Injector (FSD-804P) [FSD-804P] | 16000 | 16800
16-Port 10/100 Ethernet Web/Smart Switch with 8-Port 802.3af PoE Injector (FNSW-1608PS) [FNSW-1608PS]
Web-Smart Ethernet Switches
Switch 8x10/100/1000Base-T with 2-Port SFP Web-Smart Gigabit Ethernet Switch (GSD-802S) [GSD-802S] | 53600 | 56300
Chasis for media converters
130W Redudant Power Supply, 100-240VAC for MC-1500R/48 MC-15-RPS 130 [MC-15-RPS] | 17400 | 18300
15-Slot Media Converter Chassis MC-1500 [MC-1500] | 164500 | 173000
7-Slot 10" Media Converter Chassis PLANET MC-700 [MC-700] | 24400 | 25600
Fast Ethernet Media Conversion
10/100Base-TX to 100Base-FX (SC), Single Mode, 15 km, PLANET FT-702S15 [FT-702S15] | 29100 | 30700
10/100Base-TX to 100Base-FX (SC), Single Mode, WDM PLANET FT-706A15 [FT-706A15] | 34900 | 34900
10/100Base-TX to 100Base-FX (SC,MM) Bridge Media Converter, LFPT Supported, PLANET FT-802 [FT-802] | 26400 | 28000
10/100Base-TX to 100Base-FX (ST,MM) Bridge Media Converter, LFPT Supported, PLANET FT-801 [FT-801] | 27100 | 28600
10/100TX - 100Base-FX (SC) Single Mode Bridge Fiber Converter - 15KM, LFPT, PLANET FT-802S15 [FT-802S15] | 28900 | 30300
Web Manageable 10/100Base-TX to 100Base-FX (SC) Media Converter, PLANET FT-902 [FT-902] | 33800 | 36200
Gigabit media conversion
10/100/1000Base-T to Dual 1000Base-X SFP Media Converter (1 TP, 2 SFP) GT-1205A [GT-1205A] | 47400 | 49800
10/100/1000Base-T to WDM Bi-directional Fiber Converter - 1310nm - 15KM, PLANET GT-806A15 [GT-806A15] | 57300 | 60000
10/100/1000Base-T to WDM Bi-directional Fiber Converter - 1550nm - 15KM, PLANET GT-806B15 [GT-806B15] | 74800 | 78600
Mediaconverter 1000T <=> 1000Base-LX SC, Single Mode, 10km PLANET GT-802S [GT-802S] | 37400 | 39200
Mediaconverter 1000T <=> 1000Base-LX SC, Single Mode, PLANET GT-702S [GT-702S] | 41500 | 45700
RS-232/422/485
RS-232/422/485 over Fast Ethernet Media Converter (SC, SM) – 15km PLANET ICS-102S15 [ICS-102S15] | 16200 | 17000
VDSL conversion
100Mbps Ethernet (4*RJ45, 1*VDSL2/RJ11, 1*Phone) PLANET VC-204-EU [VC-204-EU] | 19100 | 20600
Ethernet over VDSL2 Converter (4*RJ45, 1*VDSL2, Master Device), PLANET VC-200M-EU [VC-200M-EU] | 71200 | 78200
Modems
Modem Planet V.92 Int.(MI-561CS) [MI-561CS] | 1790 | 1880
Power over Ethernet
802.3af High Power over Ethernet Planet (POE-161) [POE-161] | 29700 | 31200
Power over Ethernet Injector (POE-100) [POE-100] | 18700 | 19700
Powerline
85Mbps Power Line to Ethernet (4-Port built-in LAN) Bridge (1*PLC+4*LAN) [PL-420] | 7800 | 7800
Printservers
Direct Attached 10/100Mbps Fast Ethernet Print Server (full protocol) FPS-1001 [FPS-1001] | 25500 | 25900
Print Server USB2.0 GDI FPS-1011 [FPS-1011] | 6250 | 6250
VoIP
4-Port SIP Internet Telephony Gateway VoIP (VIP-450) [VIP-450] | 20800 | 20800
4-Port VoIP FXO Module for VIP-000 / VIP-050 [VIP-FXO] | 15600 | 15600
4-Port VoIP FXS Module for VIP-000 / VIP-050 [VIP-FXS] | 15600 | 15600
DECT Handset DCT-100 [DCT-100] | 4150 | 4150
DECT/VoIP Router (H.323/SIP) VIP-320 [VIP-320] | 19700 | 19700
ICF-1600 Internet Video Conferencing Phone [VIP-400FS (4-FXS)] | 109600 | 118500
Personal VoIP Gateway SKG-300 [SKG-300] | 8000 | 8750
SIP Analogue Telephony Adapter (ATA) - 2*RJ45 VIP-156 [VIP-156] | 26200 | 27400
SIP Analogue Telephony Adapter VIP-158-EU [VIP-158] | 23700 | 25200
SIP IP Phone VIP-153T [VIP-153T] | 11400 | 11400
SIP IP Phone VIP-161W [VIP-153T] | 38600 | 41400
SKD-200 DECT/Skype Gateway (support up to 8 handset) [SKD-200] | 52800 | 57100
USB Phone with LCD display, PLANET UP-121 [UP-121] | 13900 | 14700
USB Phone, PLANET UP-100 [UP-100] | 8100 | 8800
VoIP PLANET VIP- 56EXT [VIP- 56EXT] | 13500 | 13500
VoIP Analog Telephone Adapter 2*FXS PLANET ATA-150S [ATA-150S] | 25200 | 26600
VoIP Firewall Router 2-Port H.323/SIP (2*FXS) VIP-280 [VIP-280] | 14600 | 14600
VoIP Gateway Basic Unit H.323 VIP-000 [VIP-000] | 23900 | 23900
VoIP Gateway Basic Unit SIP VIP-050 [VIP-050] | 23900 | 23900
VoIP Phone PLANET VIP- 560PE [VIP- 560PE] | 17700 | 17700
Wi-Fi Phone 802.11b VIP-190 [VIP-190] | 15600 | 15600
Wi-Fi Phone Functional 802.11b/g PLANET VIP-193 [VIP-193] | 35600 | 37400
Wireless
802.11g WiFi DECT/VoIP Router (SIP) [VIP-462DG] | 27600 | 29900
Antenna Omni-Directional 8dBi ANT-0M8 [ANT-0M8] | 6750 | 6750
Wireless LAN Adapter PCMCIA (WL-3560) [WL-3560] | 5200 | 5200
WLAN (11g) Digital Media Adapter (RJ45, S-Video, Coaxial Audio, RCA Audio/Video, IR) DMA-100W [DMA-100W] | 38700 | 41800
WLAN USB Adapter - 54/108Mbps IEEE 802.11a/b/g Dual Band WL-U357 [WL-U357] | 2560 | 2560
_AKCP
SPX+
SensorProbeX+ SPX+, Gateway,1U,EXP/MODBUS+BEB, 8 Sensor, TMP00-NIST2 [SPX-U-SdTH00-NIST2] | 366000 | 384600
SensorProbe
Блок управления 2-х портовый. sensorProbe2 EU (SP2) AKCP [SP2] | 148600 | 152800
Accessories
HSUPA 3G USB Modem [HSUPA-3G] | 111400 | 124700
Key Tags - Pack of 25 [ACT01] | 26600 | 30300
PVC Cards - Pack of 25 [ACT03] | 39800 | 45100
AC, DC voltage sensors
DC Voltage sensor 15 feet (DCV15) [DCV15] | 62600 | 69000
Power Monitor Sensor 30A-3phase (PMS-220V) AKCP [PMS-220V]
SDM630MCT, 1A/5A CT, 3 Phase DIN Rail, RS485 Modbus RTU Eastron [PMS-220V] | 81700 | 86000
Датчик напряжения AC. AC Voltage sensor 15 feet (ACV15), AKCP [ACV15] | 53100 | 58600
Airflow sensors
Airflow sensor with 5 feet cable, AFS00, AKCP [AFS00] | 76400 | 80100
Dry contacts Relay
4-20mA Converter with 3 feet connector (VC003) [VC003] | 62600 | 69000
Temperature & Humidity sensors
THS00 Waterproof Temperature And humidity sensor with free 5 feet cable [THS00] | 60000 | 66400
THS01 Waterproof Temperature And humidity sensor with free 1 feet cable AKCP [THS01] | 47800 | 55700
Temperature sensors
Temperature sensor 15 feet (TMP15) [TMP15] | 66400 | 66400
Temperature sensor TMP01 [TMP01] | 26600 | 27600
Water sensors
Spot water sensor 15 feet, WS15, AKCP [WS15] | 66400 | 74300
Power supply
Power Supply 40-60 to 7.5 VDC (DCW075) [DCW075] | 25000 | 27100
___Media Range
Battery
Lithium Batteries, AA/1.5V, Pack 4 MediaRange (MRBAT154) [MRBAT154] | 815 | 815
Premium Alkaline Batteries, A23/12V MediaRange (MRBAT114) [MRBAT114] | 351 | 351
Premium Alkaline Batteries, A27/12V MediaRange (MRBAT115) [MRBAT115] | 328 | 328
Premium Alkaline Batteries, AA MediaRange pack 24 (MRBAT106) [MRBAT106] | 144 | 144
Premium Alkaline Batteries, AA MediaRange pack 4 (MRBAT104) [MRBAT104] | 148 | 148
Premium Alkaline Batteries, AAA MediaRange pack 24 (MRBAT103) [MRBAT103] | 93.7 | 93.7
Premium Alkaline Batteries, AAA MediaRange pack 4 (MRBAT101) [MRBAT101] | 112 | 112
BD-R disk
BD-R 25GB, 6x speed, inkjet fullsurface printable Cake 25 MediaRange (MR515) [MR515] | 311 | 311
BD-R 25GB, 6x speed, Cake 25 MediaRange (MR514) [MR514] | 302 | 302
BD-R 50GB Dual Layer, 6x speed, Cake 25 MediaRange (MR508) [MR508] | 915 | 915
BD-R XL 100GB, 4x Recording Speed, Inkjet Fullsurface Printable, JC MediaRange (MR520) [MR520] | 3510 | 3510
Case/Box
CD Jewelcase for 1 disc, 10.4mm, black tray MediaRange (BOX22) [BOX22] | 317 | 317
CD Jewelcase for 1 disc, 10.4mm, transparent tray MediaRange (BOX24) [BOX24] | 318 | 318
CD Jewelcase for 2 disc, 10.4mm, black tray MediaRange (BOX23) [BOX23] | 317 | 317
DVD-R disk
DVD-R 4.7GB 16x, 25-Pack MediaRange (MR403) [MR403] | 126 | 126
DVD-R 4.7GB 16x, 50-Pack MediaRange (MR444) [MR444] | 121 | 121
DVD-R 4.7GB 16x, inkjet fullsurface printable 25-Pack MediaRange (MR407) [MR407] | 137 | 137
DVD+R 4.7GB 16x, 50-Pack MediaRange (MR445) [MR445] | 121 | 121
DVD+R 4.7GB 16x, inkjet fullsurface printable 25-Pack MediaRange (MR408) [MR408] | 137 | 137
DVD+R 8.5GB Double Layer 8x, Cake 25 MediaRange (MR469) [MR469] | 273 | 273
Headset
Keyboard
Keyboard wireless with 78 keys and touchpad, compact-sized, MediaRange (MROS131) [MROS131] | 14700 | 14700
Mouses
Mouse optical 3-button MediaRange (MROS201) [MROS201] | 2180 | 2180
Mouse optical 5-button Bluetooth MediaRange (MROS217) [MROS217] | 6900 | 6900
Mouse optical 5-button MediaRange (MROS202) [MROS202] | 2950 | 2950
Mouse optical Wireless 6-button ergonomic, for right-handers MediaRange (MROS232) [MROS232] | 5750 | 5750
Алкалиновая батарейка AA LR6-BP4 [] | 166 | 166
Товарищество с ограниченной ответственностью “Фирма Триада+”
Адрес: Республика Казахстан, 050009, г. Алматы,
ул. Богенбай батыра 279 (угол ул. Айманова),
помещение 169 (цокольный этаж, вход с ул. Богенбай батыра)
Телефон: +7(727) 224-01-50, 224-01-51
WApp: +7 701 221 01 83
E-mail: dima.taykov@triade.kz, order@triade.kz
Режим работы: пон. - пятн. с 8:30 до 16:30